## CUMMINS USA
TU Series Specifications
Model | Engine | Output |  |  |  | 100% Load Fuel Consumption (L/h) | OPEN TYPE
400/230v-50Hz/1500rpm
|  | KVA |  | KW |  |  | LxWxH(mm) |  |  | Weight* (Kg)
|  | PRP | ESP | PRP | ESP |  | L | W | H
TU700 | VTA28-G5 | 625 | 687 | 500 | 550 | 140 | 3750 | 1720 | 2225 | 5510 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(4 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(4,'TU700',’VTA28-G5',’625',’687',’500',’550',’140',’3750',’1720',’2225',’5510',Now(),0);
TU715 | QSK19-G4 | 650 | 715 | 520 | 572 | 145 | 3645 | 1460 | 2105 | 4480 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(5 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(5,'TU715',’QSK19-G4',’650',’715',’520',’572',’145',’3645',’1460',’2105',’4480',Now(),0);
TU800 | QSK23-G2 | 750 | 800 | 600 | 640 | 151 | 4135 | 1665 | 2110 | 5740 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(6 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(6,'TU800',’QSK23-G2',’750',’800',’600',’640',’151',’4135',’1665',’2110',’5740',Now(),0);
TU825 | VTA28-G6 | 750 | 825 | 600 | 660 | 195 | 3985 | 1720 | 2225 | 5910 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(7 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(7,'TU825',’VTA28-G6',’750',’825',’600',’660',’195',’3985',’1720',’2225',’5910',Now(),0);
TU880 | QSK23-G3 | 810 | 880 | 648 | 704 | 161 | 4135 | 1665 | 2110 | 5720 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(8 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(8,'TU880',’QSK23-G3',’810',’880',’648',’704',’161',’4135',’1665',’2110',’5720',Now(),0);
TU1000 | QST30-G3 | 910 | 1000 | 728 | 800 | 184 | 4055 | 1760 | 2340 | 6040 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(9 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(9,'TU1000',’QST30-G3',’910',’1000',’728',’800',’184',’4055',’1760',’2340',’6040',Now(),0);
TU1100 | QST30-G4 | 1000 | 1100 | 800 | 880 | 202 | 4250 | 1760 | 2340 | 6390 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(10 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(10,'TU1100',’QST30-G4',’1000',’1100',’800',’880',’202',’4250',’1760',’2340',’6390',Now(),0);
TU1100 | KTA38-G5 | 1000 | 1100 | 800 | 880 | 209 | 4300 | 2070 | 2180 | 7650 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(11 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(11,'TU1100',’KTA38-G5',’1000',’1100',’800',’880',’209',’4300',’2070',’2180',’7650',Now(),0);
TU1240 | KTA38-G9 | 1125 | 1250 | 900 | 1000 | 256 | 4355 | 2070 | 2180 | 7900 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(12 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(12,'TU1240',’KTA38-G9',’1125',’1250',’900',’1000',’256',’4355',’2070',’2180',’7900',Now(),0);
TU1250 | QSK38-G2 | 1135 | 1250 | 908 | 1000 | 242 | 4715 | 2140 | 2405 | 7940 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(13 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(13,'TU1250',’QSK38-G2',’1135',’1250',’908',’1000',’242',’4715',’2140',’2405',’7940',Now(),0);
TU1375 | QSK38-G5 | 1250 | 1375 | 1000 | 1100 | 274 | 4720 | 2140 | 2405 | 8200 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(14 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(14,'TU1375',’QSK38-G5',’1250',’1375',’1000',’1100',’274',’4720',’2140',’2405',’8200',Now(),0);
TU1375 | KTA50-G3 | 1250 | 1375 | 1000 | 1100 | 274 | 4965 | 2060 | 2440 | 9250 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(15 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(15,'TU1375',’KTA50-G3',’1250',’1375',’1000',’1100',’274',’4965',’2060',’2440',’9250',Now(),0);
TU1500 | QSK50-G3 | 1400 | 1500 | 1120 | 1200 | 301 | 5665 | 2200 | 2555 | 10200 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(16 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(16,'TU1500',’QSK50-G3',’1400',’1500',’1120',’1200',’301',’5665',’2200',’2555',’10200',Now(),0);
TU1660 | KTA50-G8 | 1400 | 1660 | 1120 | 1328 | 289 | 5495 | 2200 | 2625 | 10640 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(17 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(17,'TU1660',’KTA50-G8',’1400',’1660',’1120',’1328',’289',’5495',’2200',’2625',’10640',Now(),0);
TU1660 | KTA50-G58 | 1500 | 1660 | 1200 | 1328 | 309 | 5495 | 2200 | 2625 | 10640 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(18 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(18,'TU1660',’KTA50-G58',’1500',’1660',’1200',’1328',’309',’5495',’2200',’2625',’10640',Now(),0);
TU1660 | QSK50-G4 | 1540 | 1660 | 1232 | 1328 | 330 | 5665 | 2200 | 2555 | 10650 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(19 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(19,'TU1660',’QSK50-G4',’1540',’1660',’1232',’1328',’330',’5665',’2200',’2555',’10650',Now(),0);
TU1800 | QSK50-G7 | 1640 | 1800 | 1312 | 1440 | 341 | 5780 | 2200 | 2555 | 10960 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(20 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(20,'TU1800',’QSK50-G7',’1640',’1800',’1312',’1440',’341',’5780',’2200',’2555',’10960',Now(),0);
TU2000 | QSK60-G3 | 1875 | 2000 | 1500 | 1600 | 363 | 5775 | 2200 | 2665 | 12950 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(21 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(21,'TU2000',’QSK60-G3',’1875',’2000',’1500',’1600',’363',’5775',’2200',’2665',’12950',Now(),0);
TU2250 | QSK60-G4 | 2045 | 2250 | 1636 | 1800 | 394 | 5860 | 2200 | 2665 | 13240 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(22 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(22,'TU2250',’QSK60-G4',’2045',’2250',’1636',’1800',’394',’5860',’2200',’2665',’13240',Now(),0);
TU2500 | QSK60-G13 | 2000 | 2420 | 1600 | 1936 | 399 | 5945 | 2220 | 3160 | 14500 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(23 | ',’ | Now(),0); | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,createdDate,fdelete)values(23,'TU2500',’QSK60-G13',’2000',’2420',’1600',’1936',’399',’5945',’2220',’3160',’14500',Now(),0);
Remark :
Perfomance data refers to Standard Reference Conditions of ISO 8528 : ±25ᵒC, 100m ALT, relative humidity 30%.
Power reduction according to DIN ISO 3046. Standard values: Above 100m ALT approx. 1% per 100m, Above 25ᵒC (77ᵒF) approx. 4% per 10ᵒC (50ᵒF).