## PERKINS
TP Series Specifications
Model | Engine PERKINS | Output |  |  |  | 100% Load Fuel Consumption (L/h) | OPEN TYPE |  |  |  | SILENT TYPE
400/230v-50Hz/1500rpm
|  | KVA |  | KW |  |  | LxWxH(mm) |  |  | Weight* (Kg) | LxWxH(mm) |  |  | Weight* (Kg)
|  | PRP | ESP | PRP | ESP |  | L | W | H |  | L | W | H
TP10 | 403A-11G1/403D-11G | 9 | 10 | 7 | 8 | 2.6 | 1320 | 700 | 1160 | 420 | 1856 | 826 | 1415 | 640 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP10','403A-11G1/403D-11G','9','10','7','8','2.6','1320','700','1160','420','1856','826','1415','640',NOW(),0);
TP15 | 403A-15G1/403D-15G | 13 | 15 | 10 | 12 | 3.67 | 1320 | 700 | 1015 | 448 | 2116 | 956 | 1390 | 794 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP15','403A-15G1/403D-15G','13','15','10','12','3.67','1320','700','1015','448','2116','956','1390','794',NOW(),0);
TP22 | 404A-22G1/404D-22G | 20 | 22 | 16 | 18 | 5.4 | 1320 | 700 | 1155 | 544 | 2116 | 956 | 1390 | 830 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP22','404A-22G1/404D-22G','20','22','16','18','5.4','1320','700','1155','544','2116','956','1390','830',NOW(),0);
TP33 | 1103A-33G | 30 | 33 | 24 | 26 | 7.1 | 1650 | 770 | 1254 | 752 | 2706 | 1106 | 1700 | 802 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP33','1103A-33G','30','33','24','26','7.1','1650','770','1254','752','2706','1106','1700','802',NOW(),0);
TP50 | 1103A-33TG1 | 45 | 50 | 36 | 40 | 10.7 | 1650 | 770 | 1256 | 850 | 2706 | 1106 | 1700 | 950 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP50','1103A-33TG1','45','50','36','40','10.7','1650','770','1256','850','2706','1106','1700','950',NOW(),0);
TP66 | 1103A-33TG2 | 60 | 66 | 48 | 53 | 13.9 | 1735 | 770 | 1256 | 888 | 2706 | 1106 | 1700 | 988 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP66','1103A-33TG2','60','66','48','53','13.9','1735','770','1256','888','2706','1106','1700','988',NOW(),0);
TP88 | 1104A-44TG2 | 80 | 88 | 64 | 70 | 18.7 | 1900 | 815 | 1295 | 1043 | 3146 | 1106 | 1700 | 1890 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP88','1104A-44TG2','80','88','64','70','18.7','1900','815','1295','1043','3146','1106','1700','1890',NOW(),0);
TP110 | 1104C-44TAG2 | 100 | 110 | 80 | 88 | 22.6 | 1935 | 815 | 1310 | 1148 | 3146 | 1106 | 1700 | 1960 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP110','1104C-44TAG2','100','110','80','88','22.6','1935','815','1310','1148','3146','1106','1700','1960',NOW(),0);
TP150 | 1106A-70TG1 | 135 | 150 | 108 | 120 | 35 | 2450 | 950 | 1535 | 1412 | 3456 | 1126 | 1900 | 2416 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP150','1106A-70TG1','135','150','108','120','35','2450','950','1535','1412','3456','1126','1900','2416',NOW(),0);
TP165 | 1106A-70TAG2 | 150 | 165 | 120 | 132 | 45.8 | 2450 | 950 | 1535 | 1492 | 3456 | 1126 | 1900 | 2492 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP165','1106A-70TAG2','150','165','120','132','45.8','2450','950','1535','1492','3456','1126','1900','2492',NOW(),0);
TP200 | 1106A-70TAG3 | 180 | 200 | 144 | 160 | 41.6 | 2450 | 950 | 1535 | 1652 | 3456 | 1126 | 1900 | 2712 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP200','1106A-70TAG3','180','200','144','160','41.6','2450','950','1535','1652','3456','1126','1900','2712',NOW(),0);
TP220 | 1106A-70TAG4 | 200 | 220 | 160 | 176 | 44.9 | 2485 | 950 | 1535 | 1726 | 3456 | 1126 | 1900 | 2848 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP220','1106A-70TAG4','200','220','160','176','44.9','2485','950','1535','1726','3456','1126','1900','2848',NOW(),0);
TP250 | 1506A-E88TAG2 | 227 | 250 | 184 | 200 | 48.6 | 3000 | 1150 | 1800 | 1992 | 3686 | 1406 | 1900 | 3042 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP250','1506A-E88TAG2','227','250','184','200','48.6','3000','1150','1800','1992','3686','1406','1900','3042',NOW(),0);
TP275 | 1506A-E88TAG3 | 250 | 275 | 200 | 220 | 55.5 | 3000 | 1150 | 1800 | 1992 | 3686 | 1406 | 1900 | 3098 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP275','1506A-E88TAG3','250','275','200','220','55.5','3000','1150','1800','1992','3686','1406','1900','3098',NOW(),0);
TP300 | 1506A-E88TAG4 | 275 | 300 | 220 | 240 | 60.2 | 3150 | 1150 | 1800 | 2360 | 4366 | 1306 | 2150 | 3220 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP300','1506A-E88TAG4','275','300','220','240','60.2','3150','1150','1800','2360','4366','1306','2150','3220',NOW(),0);
TP330 | 1506A-E88TAG5 | 300 | 330 | 240 | 264 | 64.9 | 3150 | 1150 | 1800 | 2360 | 3906 | 1456 | 2010 | 3596 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP330','1506A-E88TAG5','300','330','240','264','64.9','3150','1150','1800','2360','3906','1456','2010','3596',NOW(),0);
TP385 | 2206A-E13TAG2 | 350 | 385 | 280 | 308 | 71 | 3200 | 1150 | 1990 | 3058 | 4506 | 1506 | 2443 | 4578 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP385','2206A-E13TAG2','350','385','280','308','71','3200','1150','1990','3058','4506','1506','2443','4578',NOW(),0);
TP440 | 2206A-E13TAG3 | 400 | 440 | 320 | 352 | 81 | 3370 | 1150 | 1990 | 3686 | 4506 | 1506 | 2443 | 4742 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP440','2206A-E13TAG3','400','440','320','352','81','3370','1150','1990','3686','4506','1506','2443','4742',NOW(),0);
TP500 | 2506A-E15TAG1 | 454 | 500 | 360 | 400 | 95 | 3440 | 1150 | 1990 | 3686 | 5306 | 1566 | 2585 | 4936 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP500','2506A-E15TAG1','454','500','360','400','95','3440','1150','1990','3686','5306','1566','2585','4936',NOW(),0);
TP550 | 2506A-E15TAG2 | 500 | 550 | 400 | 440 | 100 | 3440 | 1150 | 1990 | 3738 | 4809 | 1506 | 2590 | 5990 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP550','2506A-E15TAG2','500','550','400','440','100','3440','1150','1990','3738','4809','1506','2590','5990',NOW(),0);
TP660 | 2806C-E18TAG1A | 600 | 660 | 480 | 528 | 129 | 3350 | 1536 | 1957 | 4004 | 5306 | 1706 | 2935 | 5299 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP660','2806C-E18TAG1A','600','660','480','528','129','3350','1536','1957','4004','5306','1706','2935','5299',NOW(),0);
TP700 | 2806A-E18TAG2 | 650 | 700 | 520 | 560 | 132 | 3390 | 1536 | 1957 | 4160 | 5306 | 1706 | 2935 | 5455 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP700','2806A-E18TAG2','650','700','520','560','132','3390','1536','1957','4160','5306','1706','2935','5455',NOW(),0);
TP825 | 4006-23TAG2A | 750 | 825 | 600 | 660 | 157 | 4320 | 1720 | 2172 | 5730 | 6058 | 2438 | 2591 | 8908 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP825','4006-23TAG2A','750','825','600','660','157','4320','1720','2172','5730','6058','2438','2591','8908',NOW(),0);
TP880 | 4006-23TAG3A | 800 | 880 | 640 | 704 | 172 | 4320 | 1720 | 2172 | 5744 | 6058 | 2438 | 2591 | 8922 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP880','4006-23TAG3A','800','880','640','704','172','4320','1720','2172','5744','6058','2438','2591','8922',NOW(),0);
TP1100 | 4008TAG2 | 1000 | 1100 | 800 | 880 | 194 | 4690 | 2070 | 2269 | 7280 | 12192 | 2438 | 2896 | 14230 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP1100','4008TAG2','1000','1100','800','880','194','4690','2070','2269','7280','12192','2438','2896','14230',NOW(),0);
TP1375 | 4012-46TWG2A | 1250 | 1375 | 1000 | 1100 | 259 | 4810 | 1977 | 2450 | 9234 | 12192 | 2438 | 2896 | 16184 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP1375','4012-46TWG2A','1250','1375','1000','1100','259','4810','1977','2450','9234','12192','2438','2896','16184',NOW(),0);
TP1650 | 4012-46TAG2A | 1505 | 1656 | 1204 | 1325 | 301 | 4980 | 2192 | 2501 | 10261 | 12192 | 2438 | 2896 | 17211 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP1650','4012-46TAG2A','1505','1656','1204','1325','301','4980','2192','2501','10261','12192','2438','2896','17211',NOW(),0);
TP1875 | 4012-46TAG3A | 1705 | 1875 | 1364 | 1500 | 370 | 5070 | 2192 | 2570 | 13664 | 12192 | 2438 | 2896 | 20614 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP1875','4012-46TAG3A','1705','1875','1364','1500','370','5070','2192','2570','13664','12192','2438','2896','20614',NOW(),0);
TP2000 | 4016TAG1A | 1844 | 2028 | 1476 | 1622 | 383 | 5900 | 2145 | 2545 | 13808 | 12000 | 3200 | 3670 | 21388 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP2000','4016TAG1A','1844','2028','1476','1622','383','5900','2145','2545','13808','12000','3200','3670','21388',NOW(),0);
TP2250 | 4016TAG2A | 2058 | 2250 | 1646 | 1800 | 434 | 5985 | 2145 | 2545 | 14361 | 12000 | 3200 | 3670 | 21941 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP2250','4016TAG2A','2058','2250','1646','1800','434','5985','2145','2545','14361','12000','3200','3670','21941',NOW(),0);
TP2500 | 4016-61TRG3 | 2200 | 2420 | 1760 | 1936 | 473 | 6010 | 2200 | 2785 | 13621 | 12000 | 3200 | 3670 | 21201 | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1, | insert into productspecifikasi(produkdetail_id,model,engine,outputKvaPrp,outputKvaEsp,outputKwPrp,outputKwEsp,loadFuel,ot_l,ot_w,ot_h,ot_weight,st_l,st_w,st_h,st_weight,createdDate,fdelete) values(1,'TP2500','4016-61TRG3','2200','2420','1760','1936','473','6010','2200','2785','13621','12000','3200','3670','21201',NOW(),0);
Remark :
Perfomance data refers to Standard Reference Conditions of ISO 8528 : ±25ᵒC, 100m ALT, relative humidity 30%.
Power reduction according to DIN ISO 3046. Standard values: Above 100m ALT TProx. 1% per 100m, Above 25ᵒC (77ᵒF) TProx. 4% per 10ᵒC (50ᵒF).